Dowco Products Group

1855 S. 54th Ave.

Cicero, IL. 60804

Tel. 708-652-9100   Fax 708-652-9158

Model IEC-04

Specifiers Note: All text in blue must be carefully reviewed and edited to meet the requirements. Delete or edit where necessary and must be coordinated with other specifications and drawings.

Section 10240 – extruded aluminum horizontal screens

# PART 1 – GENERAL

  - RELATED DOCUMENTS

- Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

  - SUMMARY

- This Section includes the following:

  - Fixed, extruded aluminum horizontal screens.

- Related Sections included the following:

  - Division 7 Section “Joint Sealants” for sealants in perimeter joints between louver frames and adjoining construction.

  - Division 8 Section “Steel Doors and Frames” for louvers in hollow-metal doors and frames.

  - Division 9 Section “Paints” Finishes and colors.

  - Division 15 Sections for louvers that are a part of mechanical equipment.

  - DEFINITIONS

- Louver Terminology: Definitions for terms for metal louvers contained in AMCA 501 apply to this Section unless otherwise defined in the Section or in referenced standards.

  - PERFORMANCE REQUIREMENTS

- Structural Performance: Provide louvers capable of withstanding the effects of gravity loads and the following loads and stresses with limits and under conditions indicated without permanent deformation of louver components, noise or metal fatigue caused by louver blade rattle or flutter, or permanent damage to fasteners and anchors. Wind pressures shall be considered to act on vertical projection of louvers.

  - Wind Loads: Determine loads based on a uniform pressure of (25) lbs./sq. ft., acting inward or outward.

- Thermal Movements: Provide louvers that allow for thermal movements resulting from the following maximum change  (range) in ambient and surface temperature by preventing buckling, opening of joints, overstressing of components, failure of connections, and other detrimental effects. Base engineering calculation on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

  - Temperature Change (Range): 120 deg. F, ambient 180 deg. F, material surfaces.

  - SUBMITTALS

- Product Data: For each type of product indicated.

- Shop Drawings: For louvers and accessories. Include plans, elevation, sections, details, and attachment to other Work. Show blade profiles, angles, and spacing.

- Samples for Initial Selection. For units with factory applied color finishes.

- Samples for Verification: For each type of metal finish required.

- Product Test Reports: Based on evaluation of comprehensive test performed by a qualified testing agency or by manufacturer and witnessed by a qualified testing agency, for each type of louvers.

  - QUALITY ASSURANCE

- Source Limitation: Obtain louvers and vents through one source from a single manufacturer where indicated to be of same type, design, or factory applied color finish.

- Welding: Qualify procedures and personnel according to the following:

  - AWS D1.2, “Structural Welding Code-Aluminum”

- SMACNA Standard: Comply with recommendations in SMACNA’s “Architectural Sheet Metal Manual” for fabrication, construction details, and installation procedures.

  - PROJECT CONDITIONS

- Field Measurements: Verify louver openings by field measurements before fabrication and indicate measurements on Shop Drawings.

  - Established Dimensions: Where field measurement cannot be made without delaying the Work, establish opening dimensions and proceed with fabricating louvers without field measurements. Coordinate construction to ensure that actual opening dimensions correspond to established dimensions.

# PART 2 – PRODUCTS

  - EXTRUDED ALUMINUM HORIZONTAL SCREENS

- Manufacturer: 	Dowco Products Group

1855 S. 54th Ave. Cicero, IL. 60804

Tel. (708) 652-9100

Fax. (708) 652-9158

- Other Available Manufacturers – Subject to compliance with requirements stated within.

  - (List acceptable equals by name)

  - MATERIALS

- Aluminum Extrusions: ASTM B 221, alloy 6063-T5 or T52.

- Aluminum Sheet: ASTM B 209, alloy 3003 or 5005 with temper as required for forming, or as otherwise recommended by metal producer for required finish.

- Aluminum Castings: ASTM B 26/B 26M, alloy 319.

- Fasteners: Of same basic metal and alloy as fastened metal or 300 Series stainless steel, unless otherwise indicated. Do not use metals that are incompatible with joined materials.

  - Use types and sizes to suit unit installation conditions.

  - Use Phillips flat head screws for exposed fasteners, unless otherwise indicated.

- Post-installed Fasteners for Concrete and Masonry: Torque-controlled expansion anchors, made from stainless-steel components, with capability to sustain, without failure, a load equal to 4 times the loads imposed, for concrete, or 6 times the imposed, for masonry, as determined by testing per ASTM E 488, conducted by a qualified independent testing agency.

- Bituminous Paint: Cold-applied asphalt emulsion complying with ASTM D 1187.

  - FABRICATION, GENERAL

- Assemble louvers in factory to minimize field splicing and assembly. Disassemble units as necessary for shipping and handling limitations. Clearly mark units for reassembly and coordinated installation.

- Vertical Assemblies: Where height of louver units exceeds fabrication and handling limitations, fabricate units to permit field bolted assembly with close fitting joints in jambs and mullions, reinforced with splice plates.

  - Continuous Vertical Assemblies. Fabricate units without interrupting blade-spacing pattern.

- Maintain equal louver blade spacing to produce uniform appearance.

- Fabricate frames, including integral sills, to fit in openings of sizes indicated, with allowances made for fabrication and installation tolerances, adjoining material tolerances, and perimeter sealant joints.

    - Frame Type: Channel, unless otherwise indicated in the drawings.

- Include supports, anchorages and accessories required for complete assembly.

- Provide vertical mullion of type and at spacing indicated, but not more then recommended by manufacturer, or 60 inches oc, whichever is less.

- Where indicated in the drawings, provide visible mullions at required location or invisible mullions fully recessed behind louver blades. Where length of louver exceeds fabrication and handling limitation, fabricate with close fitting blade splices designed to permit expansion and contraction.

- Where indicated, provide subsill made of same material as louvers or extended sill for recessed louvers.

- Join frame members to each other and to fixed louver blades with fillet welds, threaded fasteners, or both, as standard with louver manufacturer, concealed from view, unless otherwise indicated or size of louver assembly makes bolted connections between frame members necessary.

  - FIXED, EXTRUDED ALUMINUM LOUVERS

  - Basis-Design Product:

Dowco Products Group Louver Model IEC-04

- Louver Depth: 4 inches

- Blade Angle and Spacing: (Inverted- sightproof) 45 degrees and 5” oc.

- Frame and Blade Nominal Thickness: As required to comply with structural performance requirements, but not less than .081 inch

- Supports: 2” x 2” x 1/4” aluminum vertical angle support concealed from view

- Corners: Mitered Corner / Boxed Corner

- Performance Requirements:

        - Free Area: Not less than 8.05 sq. ft on 48” x 48” louver (50%)

  - FINISHES, GENERAL

- Comply with NAAMM’s “Metal Finishes Manual for Architectural and Metal Products” for recommendations for applying and designating finishes.

- Finish louver after assembly.

  - ALUMINUM FINISHES

- Finish designations prefixed by AA comply with system established by the Aluminum Association for designating aluminum finishes.

- High-Performance Organic-Coating Finish: AA-C12C42R1X (Chemical Finish: cleaned with inhibited chemicals; Chemical Finish: acid-chromate-fluoride-phosphate conversion coating: Organic Coating: as specified below). Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturer’s written instructions.

    - Fluoropolymer Two-Coat Coating System: Manufacturer’s standard two-coat thermocured system consisting of specially formulated inhibitive primer and fluoropolymer color topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight; complying with AAMA 605.2

  - Color and Gloss: As selected by Architect from manufacturer’s standard color chart.

E.	Color Anodize Finish:

1.	Comply with Aluminum Association AA-C22A44.

2.	Apply finish following chemical etching and pretreatment.

3.	Electrolytically deposited color anodized finish.

4.	Minimum Thickness:  0.7 mils (0.018 mm).

F.	Clear Anodize Finish:

1.	Comply with Aluminum Association AA-C22A31.  Clear anodize finish 204-R1.

2.	Apply finish following chemical etching and pretreatment.

3.	Minimum Thickness:  0.4 mils (0.01 mm), 30 minute anodizing process.

G.	Clear Anodize Finish:

1.	Comply with Aluminum Association AA-C22A41.  Clear anodize finish 215-R1.

2.	Apply finish following chemical etching and pretreatment.

3.	Minimum Thickness:  0.7 mils (0.018 mm), 60 minute anodizing process.

H.	Prime Coat:

1.	Apply alkyd prime coat following chemical cleaning and pretreatment.

2.	Primer preparation for field painting.

I.	Color for Anodize Finish:  [Black] [Clear Anodize] [Dark Bronze] [Medium Bronze].

## PART 3 – EXECUTION

  - EXAMINATION

- Examine substrates and openings, with installer present, for compliance with requirements for installation tolerances and other conditions affecting performance.

  - Proceed with installation only after unsatisfactory conditions have been corrected.

  - PREPARATION

- Coordinate setting drawings, diagrams, templates, instructions, and directions for installation of anchorages that are to be embedded in concrete or masonry construction. Coordinate delivery of such items to Project site.

  - INSTALLATION

- Locate and place louvers and vents level, plumb, and at indicated alignment with adjacent work.

- Use concealed anchorages where possible. Provide brass or lead washers fitted to screw where required to protect metal surfaces and to make a weather tight connection.

- Form closely fitted joints with exposed connections accurately located and secured.

- Provide perimeter reveals and openings of uniform width for sealants and joint fillers, as indicated.

- Repair finishes damaged by cutting, welding, soldering, and grinding. Restore finishes so no evidence remains of corrective work. Return items that cannot be refinished in the field to the factory, make required alteration, and refinish entire unit or provide new units.

- Protect galvanized and nonferrous-metal surfaces from corrosion or galvanic reaction by applying a heavy coating of bituminous paint on surfaces that will be in contact with concrete, masonry, or dissimilar metals.

- Install concealed gaskets, flashings, joint fillers, and insulation as louver installation progresses, where weather tight louver joints are required. Comply with Division 7 Section “Joint Sealants” for sealants applied during louver installation.

  - ADJUSTING AND CLEANING

- Clean exposed surfaces of louvers and vents that are not protected by temporary covering, to remove fingerprints and soil during construction period. Do not let soil accumulate until final cleaning.

- Before final inspection, clean exposed surfaces with water and a mild soap or detergent not harmful to finishes. Thoroughly rinse surfaces and dry.

- Restore louvers and vents damaged during installation and construction so no evidence remains of corrective work. If results of restoration are unsuccessful, as determined by Architect, remove damaged units and replace with new units.

  - Touch up minor abrasions in finishes with air-dried coating that matches color and gloss of, and is compatible with, factory-applied finish coating.

### END OF SECTION 10240